{"text_format":"1","workbook":"xlsx","n_sheets":13,"sheets":["CoverPage","Bus_Data","Branch_Data","Y_Bus","GS_Results","NR_Results","Jacobian","NR_FDC_Results","PV_Bus_Treatment","DC_LF_Results","Bar_Plots","Line_Plots","Test_Cases"],"not_rendered":{"charts":0,"images":2,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"CoverPage","index":0,"n_rows":68,"n_cols":24,"rows_kept":68,"cut":false,"hidden":false,"merged":[]}
[null,null,null,null,null,null,null,null,null,null,"IEEE 14 Bus Test Case"]
[null,null,null,null,null,null,null,null,100]
[]
[null,null,null,null,14]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Sample Case Names",null,"IEEE 14-Bus Case Data"]
["IEEE 14 Bus Test Case",null,"Bus Data"]
["IEEE 30 Bus Test Case",null,1,"Bus1","HV",1,1,3,1.06,0,0,0,232.4,-16.899999999999999,0,1.06,0,0,0,0,1]
["IEEE 57 Bus Test Case",null,2,"Bus2","HV",1,1,2,1.0449999999999999,-4.9800000000000004,21.7,12.7,40,42.4,0,1.0449999999999999,50,-40,0,0,2]
["IEEE 118 Bus Test Case",null,3,"Bus3","HV",1,1,2,1.01,-12.72,94.2,19,0,23.4,0,1.01,40,0,0,0,3]
["IEEE 300 Bus Test Case",null,4,"Bus4","HV",1,1,0,1.0189999999999999,-10.33,47.8,-3.9,0,0,0,0,0,0,0,0,4]
[null,null,5,"Bus5","HV",1,1,0,1.02,-8.7799999999999994,7.6,1.6,0,0,0,0,0,0,0,0,5]
[null,null,6,"Bus6","LV",1,1,2,1.07,-14.22,11.2,7.5,0,12.2,0,1.07,24,-6,0,0,6]
[null,null,7,"Bus7","ZV",1,1,0,1.0620000000000001,-13.37,0,0,0,0,0,0,0,0,0,0,7]
[null,null,8,"Bus8","TV",1,1,2,1.0900000000000001,-13.36,0,0,0,17.399999999999999,0,1.0900000000000001,24,-6,0,0,8]
[null,null,9,"Bus9","LV",1,1,0,1.056,-14.94,29.5,16.600000000000001,0,0,0,0,0,0,0,0.19,9]
[null,null,10,"Bus10","LV",1,1,0,1.0509999999999999,-15.1,9,5.8,0,0,0,0,0,0,0,0,10]
[null,null,11,"Bus11","LV",1,1,0,1.0569999999999999,-14.79,3.5,1.8,0,0,0,0,0,0,0,0,11]
[null,null,12,"Bus12","LV",1,1,0,1.0549999999999999,-15.07,6.1,1.6,0,0,0,0,0,0,0,0,12]
[null,null,13,"Bus13","LV",1,1,0,1.05,-15.16,13.5,5.8,0,0,0,0,0,0,0,0,13]
[null,null,14,"Bus14","LV",1,1,0,1.036,-16.04,14.9,5,0,0,0,0,0,0,0,0,14]
[]
[null,null,"Branch Data"]
[null,null,1,2,1,1,1,0,1.9380000000000001E-2,5.917E-2,5.28E-2,0,0,0,0,0,0,0,0,0,0,0,0,1]
[null,null,1,5,1,1,1,0,5.4030000000000002E-2,0.22303999999999999,4.9200000000000001E-2,0,0,0,0,0,0,0,0,0,0,0,0,2]
[null,null,2,3,1,1,1,0,4.6989999999999997E-2,0.19797000000000001,4.3799999999999999E-2,0,0,0,0,0,0,0,0,0,0,0,0,3]
[null,null,2,4,1,1,1,0,5.8110000000000002E-2,0.17632,3.4000000000000002E-2,0,0,0,0,0,0,0,0,0,0,0,0,4]
[null,null,2,5,1,1,1,0,5.6950000000000001E-2,0.17388000000000001,3.4599999999999999E-2,0,0,0,0,0,0,0,0,0,0,0,0,5]
[null,null,3,4,1,1,1,0,6.701E-2,0.17102999999999999,1.2800000000000001E-2,0,0,0,0,0,0,0,0,0,0,0,0,6]
[null,null,4,5,1,1,1,0,1.3350000000000001E-2,4.2110000000000002E-2,0,0,0,0,0,0,0,0,0,0,0,0,0,7]
[null,null,4,7,1,1,1,1,0,0.20912,0,0,0,0,0,0,0.97799999999999998,0,0,0,0,0,0,8]
[null,null,4,9,1,1,1,1,0,0.55618000000000001,0,0,0,0,0,0,0.96899999999999997,0,0,0,0,0,0,9]
[null,null,5,6,1,1,1,1,0,0.25202000000000002,0,0,0,0,0,0,0.93200000000000005,0,0,0,0,0,0,10]
[null,null,6,11,1,1,1,0,9.4979999999999995E-2,0.19889999999999999,0,0,0,0,0,0,0,0,0,0,0,0,0,11]
[null,null,6,12,1,1,1,0,0.12291000000000001,0.25580999999999998,0,0,0,0,0,0,0,0,0,0,0,0,0,12]
[null,null,6,13,1,1,1,0,6.615E-2,0.13027,0,0,0,0,0,0,0,0,0,0,0,0,0,13]
[null,null,7,8,1,1,1,0,0,0.17615,0,0,0,0,0,0,0,0,0,0,0,0,0,14]
[null,null,7,9,1,1,1,0,0,0.11001,0,0,0,0,0,0,0,0,0,0,0,0,0,15]
[null,null,9,10,1,1,1,0,3.1809999999999998E-2,8.4500000000000006E-2,0,0,0,0,0,0,0,0,0,0,0,0,0,16]
[null,null,9,14,1,1,1,0,0.12711,0.27038000000000001,0,0,0,0,0,0,0,0,0,0,0,0,0,17]
[null,null,10,11,1,1,1,0,8.2049999999999998E-2,0.19206999999999999,0,0,0,0,0,0,0,0,0,0,0,0,0,18]
[null,null,12,13,1,1,1,0,0.22092000000000001,0.19988,0,0,0,0,0,0,0,0,0,0,0,0,0,19]
[null,null,13,14,1,1,1,0,0.17093,0.34802,0,0,0,0,0,0,0,0,0,0,0,0,0,20]

{"sheet":"Bus_Data","index":1,"n_rows":24,"n_cols":18,"rows_kept":24,"cut":false,"hidden":false,"merged":[[5,12,6,12],[5,13,6,13],[5,0,6,0],[5,4,6,4],[5,5,6,5],[5,3,6,3],[5,2,6,2],[5,1,6,1],[5,6,6,6],[5,7,6,7],[5,8,6,8],[5,9,5,11]]}
["LOAD FLOW DATA"]
[]
[null,null,null,null,100,"MVA Base"]
["BUS DATA FOLLOWS",null,null,null,null,"Items"]
[]
["Bus Id.","Bus  Name","Nominal kV","Bus   Type","P_Load (MW)","Q_Load (MVAR)","P_Gen (MW)","Q_Gen (MVAR)","Base    (kV)","Generator Specifications",null,null,"Shunt G (p.u.)","Shunt B (p.u.)"]
[null,null,null,null,null,null,null,null,null,"Vspec (p.u.)","Q_Max.  (MVAR)","Q_Min. (MVAR)",null,null,null,null,"Bus Type","Description"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0,"Unregulated Load Bus, PQ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,"Voltage Regulated Load Bus, PQ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2,"Voltage Controlled Generator Bus, PV"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3,"Slack/Swing Bus, V-Theta"]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Notes. "]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Bus Identification Numbers"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Bus identification numbers should read from 1 to n "]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"(n - total number of buses in the system)"]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Convention of Signs for Scheduled Bus Powers"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Positive values entered for load power are taken as leaving the bus"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Positive values entered for generated power are taken as entering the bus"]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Floating Buses"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Buses not connected to the system should not be entered as this would  "]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"result in zeros appearing along the leading diagonal of the Y-bus."]

{"sheet":"Branch_Data","index":2,"n_rows":25,"n_cols":19,"rows_kept":25,"cut":false,"hidden":false,"merged":[[6,17,7,17],[6,0,7,0],[6,1,7,1],[6,3,7,3],[6,4,7,4],[6,5,7,5],[6,6,7,6],[6,2,7,2],[5,7,5,15],[5,0,5,3],[5,4,5,6],[6,14,6,15],[6,11,6,12],[6,7,7,7],[6,8,7,8],[6,9,7,9],[6,10,7,10],[6,13,7,13]]}
["LOAD FLOW DATA"]
[]
[]
["BRANCH DATA FOLLOWS",null,null,null,null,"Items"]
[]
["Description",null,null,null,"Equivalent T-Cct Parameters",null,null,"Transformer Data"]
["From  Bus","To Bus","Circuit Number","Branch Type","R (p.u.)","X (p.u.)","B (p.u.)","Control Bus","Side","Turns Ratio (pu)"," Phase Shift (deg.)","Tap Range",null,"Step   Size","V/MW/MVAR Limits",null,null,"Branch Type"]
[null,null,null,null,null,null,null,null,null,null,null,"Min.","Max.",null,"Min.","Max.",null,null,"Description"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0,"Transmission Line"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Transformer"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,"Fixed Voltage Ratio and/or Fixed Phase Angle"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2,"Fixed Phase Angle and Variable Voltage Ratio with Voltage Control (LTC)"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3,"Fixed Phase Angle and Variable Voltage Ratio with MVAR Control "]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4,"Fixed Voltage Ratio and Variable Phase Angle with MW Control"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Side No.","Description"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0,"The controlled bus is one of the t/f terminals"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,"The remote controlled bus is near the tap side"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2,"The remote controlled bus is near the impedance side"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Circuit #","Description"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,"Single Line"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"2 to 9","Used for Numbering of Parallel Lines"]

{"sheet":"Y_Bus","index":3,"n_rows":1,"n_cols":1,"rows_kept":1,"cut":false,"hidden":false,"merged":[]}
["Bus Admittance Matrix"]

{"sheet":"GS_Results","index":4,"n_rows":17,"n_cols":23,"rows_kept":17,"cut":false,"hidden":false,"merged":[[15,11,16,11],[14,0,14,5],[14,7,14,10],[15,0,16,0],[15,1,16,1],[15,2,16,2],[15,3,16,3],[15,4,16,4],[15,5,16,5],[15,6,16,6],[15,7,16,7],[15,8,16,8],[15,9,16,9],[15,10,16,10],[15,14,16,14],[15,12,15,13],[15,15,15,16],[15,18,15,19],[14,12,14,22],[15,21,15,22]]}
["Solution by Gauss-Seidel Method"]
[]
["No. of Iterations Performed",null,null,null,null,"Average Time Per Iteration",null,null,null,"ms"]
[null,null,null,null,null,"Total Solution Time",null,null,null,"ms",null,null,null,null,"Max. No. Of Iterations:"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Acceleration Factor:"]
[null,null,null,"dP","dQ",null,null,null,null,null,null,null,null,null,"Error Tolerances;",null,"dPmax:",null,"p.u."]
["Maximum Residuals",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"dQmax:",null,"p.u."]
["Bus No.",null,null,null,null,null,null,"Totals",null,"MW","MVAR"]
[null,null,null,null,null,null,null,"Generation"]
[null,null,null,null,null,null,null,"Load"]
[null,null,null,null,null,null,null,"Losses"]
[]
[]
[]
["Load Flow Summary",null,null,null,null,null,null,"PV Bus Limit Adjustment",null,null,null,null,"Line Flows"]
["Bus Number","Bus Type","Final Volts (pu)","Final Angle (deg.)","P (pu)","Q (pu)",null,"Desired Volts (pu)","Q_Gen (pu)","MVAR max. (pu)","MVAR min. (pu)",null,"Line Details",null,"Turns Ratio","From-To Flow",null,null,"To-From Flow",null,null,"Losses"]
[null,null,null,null,null,null,null,null,null,null,null,null,"From Bus","To Bus",null,"MW","MVAR",null,"MW","MVAR",null,"MW","MVAR"]

{"sheet":"NR_Results","index":5,"n_rows":17,"n_cols":23,"rows_kept":17,"cut":false,"hidden":false,"merged":[[15,6,16,6],[14,0,14,5],[15,0,16,0],[15,1,16,1],[15,2,16,2],[15,3,16,3],[15,4,16,4],[15,5,16,5],[14,12,14,22],[14,30,14,31],[15,21,15,22],[15,7,16,7],[15,8,16,8],[14,24,14,25],[14,26,14,27],[14,28,14,29],[15,9,16,9],[14,7,14,10],[15,14,16,14],[15,11,16,11],[15,12,15,13],[15,15,15,16],[15,18,15,19],[15,10,16,10]]}
["Solution by Newton-Raphson Method"]
[" (Polar Version)"]
["No. of Iterations Performed",null,null,null,null,"Average Time Per Iteration",null,null,null,"ms"]
[null,null,null,null,null,"Total Solution Time",null,null,null,"ms",null,null,null,null,"Max. No. Of Iterations:"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Error Tolerances;",null,"dPmax:",null,"p.u."]
[null,null,null,"dP","dQ",null,null,null,null,null,null,null,null,null,null,null,"dQmax:",null,"p.u."]
["Maximum Residuals"]
["Bus No.",null,null,null,null,null,null,"Totals",null,"MW","MVAR"]
[null,null,null,null,null,null,null,"Generation"]
[null,null,null,null,null,null,null,"Load"]
[null,null,null,null,null,null,null,"Losses"]
[]
[]
[]
["Load Flow Summary",null,null,null,null,null,null,"PV Bus Limit Adjustment",null,null,null,null,"Line Flows"]
["Bus Number","Bus Type","Final Volts (pu)","Final Angle (deg.)","P (pu)","Q (pu)",null,"Desired Volts (pu)","Q_Gen (pu)","MVAR max. (pu)","MVAR min. (pu)",null,"Line Details",null,"Turns Ratio","From-To Flow",null,null,"To-From Flow",null,null,"Losses"]
[null,null,null,null,null,null,null,null,null,null,null,null,"From Bus","To Bus",null,"MW","MVAR",null,"MW","MVAR",null,"MW","MVAR"]

{"sheet":"Jacobian","index":6,"n_rows":4,"n_cols":8,"rows_kept":4,"cut":false,"hidden":false,"merged":[]}
["Intermediate Results - NR Jacobian Matrix"]
[]
["Network :",null,null,null,null,null,null,"Note. "]
["Date of Study :",null,null,null,null,null,null,"Only Matrices having dimensions less than 32x32 are printed."]

{"sheet":"NR_FDC_Results","index":7,"n_rows":17,"n_cols":23,"rows_kept":17,"cut":false,"hidden":false,"merged":[[14,12,14,22],[14,0,14,5],[14,7,14,10],[15,0,16,0],[15,1,16,1],[15,2,16,2],[15,3,16,3],[15,4,16,4],[15,5,16,5],[15,6,16,6],[15,21,15,22],[15,7,16,7],[15,8,16,8],[15,9,16,9],[15,10,16,10],[15,11,16,11],[15,12,15,13],[15,14,16,14],[15,15,15,16],[15,18,15,19]]}
["Solution by NR Fast-Decoupled Method"]
[]
["No. of Iterations Performed",null,null,null,null,"Average Time Per Iteration",null,null,null,"ms"]
[null,null,null,null,null,"Total Solution Time",null,null,null,"ms",null,null,null,null,"Max. No. Of Iterations:"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Error Tolerances;",null,"dPmax:",null,"p.u."]
[null,null,null,"dP","dQ",null,null,null,null,null,null,null,null,null,null,null,"dQmax:",null,"p.u."]
["Maximum Residuals"]
["Bus No.",null,null,null,null,null,null,"Totals",null,"MW","MVAR"]
[null,null,null,null,null,null,null,"Generation"]
[null,null,null,null,null,null,null,"Load"]
[null,null,null,null,null,null,null,"Losses"]
[]
[]
[]
["Load Flow Summary",null,null,null,null,null,null,"PV Bus Limit Adjustment",null,null,null,null,"Line Flows"]
["Bus Number","Bus Type","Final Volts (pu)","Final Angle (deg.)","P (pu)","Q (pu)",null,"Desired Volts (pu)","Q_Gen (pu)","MVAR max. (pu)","MVAR min. (pu)",null,"Line Details",null,"Turns Ratio","From-To Flow",null,null,"To-From Flow",null,null,"Losses"]
[null,null,null,null,null,null,null,null,null,null,null,null,"From Bus","To Bus",null,"MW","MVAR",null,"MW","MVAR",null,"MW","MVAR"]

{"sheet":"PV_Bus_Treatment","index":8,"n_rows":4,"n_cols":26,"rows_kept":4,"cut":false,"hidden":false,"merged":[[2,0,2,7],[2,9,2,16],[2,18,2,25]]}
["PV Bus Treatment"]
[]
["NR Method",null,null,null,null,null,null,null,null,"NR-FDC Method",null,null,null,null,null,null,null,null,"G-S Method"]
["Iteration ","Bus No.","Qmin Limit\n(p.u.)","Qmax Limit\n(p.u.)","Qcalc\n(p.u.)","Acts as","|V| (p.u.)","Angle (deg.)",null,"Iteration ","Bus No.","Qmin Limit\n(p.u.)","Qmax Limit\n(p.u.)","Qcalc\n(p.u.)","Acts as","|V| (p.u.)","Angle (deg.)",null,"Iteration ","Bus No.","Qmin Limit\n(p.u.)","Qmax Limit\n(p.u.)","Qcalc\n(p.u.)","Acts as","|V| (p.u.)","Angle (deg.)"]

{"sheet":"DC_LF_Results","index":9,"n_rows":10,"n_cols":10,"rows_kept":10,"cut":false,"hidden":false,"merged":[[4,0,5,1],[8,6,8,7],[8,8,9,8],[8,9,9,9],[7,6,7,10],[7,0,7,3],[8,10,9,10],[8,0,9,0],[8,1,9,1],[8,2,9,2],[8,3,9,3],[8,4,9,4],[8,5,9,5]]}
["Solution by DC Load Flow Method"]
[]
["Time Per Iteration",null,null,null,"ms"]
[]
["Number of Lines with X/R < 3",null,null,null,"lines"]
[]
[]
["Load Flow Summary",null,null,null,null,null,"Line Flows"]
["Bus Number","Bus   Type","Final Volts (pu)","Final Angle (deg.)",null,null,"Line Details",null,null,"From-To Flow (MW)"]
[null,null,null,null,null,null,"From Bus","To Bus"]

{"sheet":"Bar_Plots","index":10,"n_rows":9,"n_cols":15,"rows_kept":9,"cut":false,"hidden":false,"merged":[[4,0,5,0],[4,12,5,12],[4,14,5,14],[4,2,5,2],[4,4,5,4],[4,6,5,6],[4,8,5,8],[4,10,5,10]]}
["Comparison of AC Load Flow Method Solutions - Bar Plots"]
[]
["Network :"]
["Date of Study :"]
["Method",null,"No. Of Iterations",null,"Time Per Iteration (ms)",null,"Total Solution Time(ms)",null,"dPmax (pu)",null,"dQmax (pu)",null,"Total MW Loss",null,"Total MVAR Loss"]
[]
["G-S"]
["N-R"]
["NR-FDC"]

{"sheet":"Line_Plots","index":11,"n_rows":35,"n_cols":27,"rows_kept":35,"cut":false,"hidden":false,"merged":[[33,27,33,28],[33,1,34,1],[33,2,33,4],[33,5,33,8],[33,0,34,0],[33,12,33,15],[33,16,33,18],[33,24,33,26],[33,21,33,23]]}
["Comparison of AC Load Flow Method Solutions - Line Plots"]
[]
["Network :"]
["Date of Study :"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Bus Number","Bus Type","Final Volts (pu)",null,null,"Final Angle (deg.)",null,null,null,null,null,null,"From-To MW flow",null,null,null,"From-To MVAR flow",null,null,null,null,"dPmax",null,null,"dQmax"]
[null,null,"G-S","N-R","FDC","G-S","N-R","FDC","DC",null,"From Bus","To Bus","G-S","N-R","FDC","DC","G-S","N-R","FDC",null,"Iteration","G-S","N-R","FDC","G-S","N-R","FDC"]

{"sheet":"Test_Cases","index":12,"n_rows":425,"n_cols":33,"rows_kept":425,"cut":false,"hidden":false,"merged":[[2,2,2,4],[12,20,13,20],[12,17,13,17],[5,0,5,1],[6,0,6,1],[7,0,7,1],[8,0,8,1],[12,15,13,15],[12,8,13,8],[12,16,13,16],[12,18,13,18],[12,19,13,19],[10,0,10,1],[2,0,2,1],[11,15,11,18],[11,19,11,21],[12,23,13,23],[12,24,13,24],[11,22,11,30],[12,36,13,36],[12,26,12,27],[12,29,12,30],[12,34,12,35],[12,25,13,25],[12,22,13,22],[12,21,13,21],[12,12,13,12],[12,13,13,13],[12,9,12,11],[12,0,13,0],[12,1,13,1],[12,2,13,2],[12,3,13,3],[12,4,13,4],[12,5,13,5],[12,6,13,6],[12,7,13,7]]}
["IEEE Test Cases"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"CLWadhwa 4 Bus Test Case"]
["SELECT TEST CASE:",null,"CLWadhwa 4 Bus Test Case",null,null,null,null,null,null,"Note. ",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Stagg 5 Bus Test Case"]
[null,null,null,null,null,null,null,null,null,"Test Case Data is imported from text files within the Samples folder. ",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"IEEE 9 Bus Test Case"]
[null,null,null,null,null,null,null,null,null,"Please ensure that the Samples folder is located within the same directory as the Workbook. ",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"IEEE 14 Bus Test Case"]
["Test Case:",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"IEEE 30 Bus Test Case"]
["No of Buses:",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"IEEE 57 Bus Test Case"]
["No. of Branches:"]
["Base MVA:"]
[]
["BUS DATA",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"BRANCH DATA"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Description",null,null,null,"Equivalent T-Cct Paramters",null,null,"Transformer Data"]
["Bus Id.","Bus  Name","Nominal kV","Bus Type","P_Load (MW)","Q_Load (MVAR)","P_Gen (MW)","Q_Gen (MVAR)","Base    (kV)","Generator Specifications",null,null,"Shunt G (p.u.)","Shunt B (p.u.)",null,"From  Bus","To Bus","Circuit Number","Branch Type","R (p.u.)","X (p.u.)","B (p.u.)","Control Bus","Side","Turns Ratio (pu)"," Phase Shift (deg.)","Tap Range",null,"Step   Size","V/MW/MVAR Limits"]
[null,null,null,null,null,null,null,null,null,"Vspec (p.u.)","Q_Max.  (MVAR)","Q_Min. (MVAR)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Max.","Min.",null,"Max.","Min."]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.43,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.503,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.40200000000000002,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.33,0,0,1,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,224,225,1,0,0.01,6.4000000000000001E-2,0.48,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,224,226,1,0,1.9E-3,8.0999999999999996E-3,0.86,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,225,191,1,0,1E-3,6.0999999999999999E-2,0,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,226,231,1,0,5.0000000000000001E-4,2.12E-2,0,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,227,231,1,1,8.9999999999999998E-4,4.7199999999999999E-2,0.186,0,0,1,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,228,229,1,0,1.9E-3,8.6999999999999994E-3,1.28,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,228,231,1,0,2.5999999999999999E-3,9.1700000000000004E-2,0,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,228,234,1,0,1.2999999999999999E-3,2.8799999999999999E-2,0.81,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,229,190,1,0,0,6.2600000000000003E-2,0,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,231,232,1,0,2.0000000000000001E-4,6.8999999999999999E-3,1.3640000000000001,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,231,237,1,0,1E-4,5.9999999999999995E-4,3.57,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,232,233,1,0,1.6999999999999999E-3,4.8500000000000001E-2,0,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,234,235,1,0,2.0000000000000001E-4,2.5899999999999999E-2,0.14399999999999999,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,234,237,1,0,5.9999999999999995E-4,2.7199999999999998E-2,0,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,235,238,1,0,2.0000000000000001E-4,5.9999999999999995E-4,0.8,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,241,237,1,1,5.0000000000000001E-4,1.54E-2,0,0,0,1,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,240,281,1,0,2.9999999999999997E-4,4.3E-3,8.9999999999999993E-3,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,242,245,1,0,8.2000000000000007E-3,8.5099999999999995E-2,0,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,242,247,1,0,1.12E-2,7.2300000000000003E-2,0,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,243,244,1,0,1.2699999999999999E-2,3.5499999999999997E-2,0,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,243,245,1,0,3.2599999999999997E-2,0.1804,0,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,244,246,1,0,1.95E-2,5.5100000000000003E-2,0,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,245,246,1,0,1.5699999999999999E-2,7.3200000000000001E-2,0,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,245,247,1,0,3.5999999999999997E-2,0.21190000000000001,0,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,246,247,1,0,2.6800000000000001E-2,0.1285,0,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,247,248,1,0,4.2799999999999998E-2,0.1215,0,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,248,249,1,0,3.5099999999999999E-2,0.1004,0,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,249,250,1,0,6.1600000000000002E-2,0.1857,0,0,0,0,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3,1,1,2,0,5.1999999999999998E-2,0,1,0,0.94699999999999995,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3,2,1,2,0,5.1999999999999998E-2,0,2,0,0.95599999999999996,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3,4,1,2,0,5.0000000000000001E-3,0,4,0,0.97099999999999997,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7,5,1,2,0,3.9E-2,0,5,0,0.94799999999999995,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7,6,1,2,0,3.9E-2,0,6,0,0.95899999999999996,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,10,11,1,2,0,8.8999999999999996E-2,0,11,0,1.046,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,12,10,1,1,0,5.2999999999999999E-2,0,10,0,0.98499999999999999,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,15,17,1,2,1.9400000000000001E-2,3.1099999999999999E-2,0,17,0,0.95609999999999995,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,16,15,1,2,1E-3,3.7999999999999999E-2,0,15,0,0.97099999999999997,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,21,20,1,1,0,1.4E-2,0,20,0,0.95199999999999996,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,24,23,1,2,0,6.4000000000000001E-2,0,23,0,0.94299999999999995,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,36,35,1,2,0,4.7E-2,0,35,0,1.01,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,45,44,1,2,0,0.02,0,44,0,1.008,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,45,46,1,2,0,2.1000000000000001E-2,0,46,0,1,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,62,61,1,2,0,5.8999999999999997E-2,0,61,0,0.97499999999999998,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,63,64,1,2,0,3.7999999999999999E-2,0,64,0,1.0169999999999999,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,73,74,1,2,0,2.4400000000000002E-2,0,74,0,1,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,81,88,1,2,0,0.02,0,88,0,1,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,85,99,1,2,0,4.8000000000000001E-2,0,99,0,1,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,86,102,1,2,0,4.8000000000000001E-2,0,102,0,1,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,87,94,1,2,0,4.5999999999999999E-2,0,94,0,1.0149999999999999,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,114,207,1,2,0,0.14899999999999999,0,207,0,0.96699999999999997,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,116,124,1,1,5.1999999999999998E-3,1.7399999999999999E-2,0,124,0,1.01,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,121,115,1,2,0,2.8000000000000001E-2,0,115,0,1.05,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,122,157,1,2,5.0000000000000001E-4,1.95E-2,0,157,0,1,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,130,131,1,2,0,1.7999999999999999E-2,0,131,0,1.0522,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,130,150,1,2,0,1.4E-2,0,150,0,1.0522,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,132,170,1,1,1E-3,4.02E-2,0,170,0,1.05,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,141,174,1,2,2.3999999999999998E-3,6.0299999999999999E-2,0,174,0,0.97499999999999998,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,142,175,1,2,2.3999999999999998E-3,4.9799999999999997E-2,-8.6999999999999994E-2,175,0,1,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,143,144,1,2,0,8.3299999999999999E-2,0,144,0,1.0349999999999999,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,143,148,1,2,1.2999999999999999E-3,3.7100000000000001E-2,0,148,0,0.95650000000000002,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,145,180,1,2,5.0000000000000001E-4,1.8200000000000001E-2,0,180,0,1,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,151,170,1,1,1E-3,3.9199999999999999E-2,0,170,0,1.05,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,153,183,1,2,2.7000000000000001E-3,6.3899999999999998E-2,0,183,0,1.073,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,155,156,1,1,8.0000000000000004E-4,2.5600000000000001E-2,0,156,0,1.05,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,159,117,1,2,0,1.6E-2,0,117,0,1.0506,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,160,124,1,1,1.1999999999999999E-3,3.9600000000000003E-2,0,124,0,0.97499999999999998,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,163,137,1,2,1.2999999999999999E-3,3.8399999999999997E-2,-5.7000000000000002E-2,137,0,0.98,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,164,155,1,2,8.9999999999999998E-4,2.3099999999999999E-2,-3.3000000000000002E-2,155,0,0.95599999999999996,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,182,139,1,2,2.9999999999999997E-4,1.3100000000000001E-2,0,139,0,1.05,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,189,210,1,2,0,0.252,0,210,0,1.03,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,193,196,1,2,0,0.23699999999999999,0,196,0,1.03,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,195,212,1,2,8.0000000000000004E-4,3.6600000000000001E-2,0,212,0,0.98499999999999999,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,200,248,1,2,0,0.22,0,248,0,1,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,201,69,2,2,0,9.8000000000000004E-2,0,69,0,1.03,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,202,211,1,2,0,0.128,0,211,0,1.01,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,204,2040,1,2,0.02,0.20399999999999999,-1.2E-2,196,1.05,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001,382]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,209,198,1,1,2.5999999999999999E-2,0.21099999999999999,0,198,0,1.03,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,211,212,1,2,3.0000000000000001E-3,1.2200000000000001E-2,0,212,0,1,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,218,219,1,2,1E-3,3.5400000000000001E-2,-0.01,219,0,0.97,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,223,224,1,2,1.1999999999999999E-3,1.95E-2,-0.36399999999999999,224,0,1,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,229,230,1,1,1E-3,3.32E-2,0,230,0,1.02,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,234,236,1,1,5.0000000000000001E-4,1.6E-2,0,236,0,1.07,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,238,239,1,1,5.0000000000000001E-4,1.6E-2,0,239,0,1.02,0,0.9,1.1000000000000001,2E-3,0.9,1.1000000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,196,2040,1,4,1E-4,0.02,0,0,0,1,-11.4,-15,0,0.3,80,85]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,119,1190,1,2,1E-3,2.3E-2,0,1190,0,1.0223,0,0.84350000000000003,1.1565000000000001,3.13E-3,1.0106999999999999,1.0145]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,120,1200,1,2,0,2.3E-2,0,1200,0,0.9284,0,0.84350000000000003,1.1565000000000001,3.13E-3,1.0225,1.0263]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7002,2,1,1,1E-3,1.46E-2,0,0,0,1,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7003,3,1,1,0,1.0540000000000001E-2,0,0,0,1,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7061,61,1,1,0,2.3800000000000002E-2,0,0,0,1,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7062,62,1,1,0,3.2140000000000002E-2,0,0,0,0.95,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7166,166,1,1,0,1.54E-2,0,0,0,1,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7024,24,1,1,0,2.8899999999999999E-2,0,0,0,1,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7001,1,1,1,0,1.9529999999999999E-2,0,0,0,1,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7130,130,1,1,0,1.9300000000000001E-2,0,0,0,1,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7011,11,1,1,0,1.9230000000000001E-2,0,0,0,1,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7023,23,1,1,0,2.3E-2,0,0,0,1,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7049,49,1,1,0,1.24E-2,0,0,0,1,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7139,139,1,1,0,1.67E-2,0,0,0,1,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7012,12,1,1,0,3.1199999999999999E-2,0,0,0,1,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7017,17,1,1,0,1.6539999999999999E-2,0,0,0,0.94199999999999995,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7039,39,1,1,0,3.159E-2,0,0,0,0.96499999999999997,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7057,57,1,1,0,5.3469999999999997E-2,0,0,0,0.95,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7044,44,1,1,0,0.18181,0,0,0,0.94199999999999995,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7055,55,1,1,0,0.19606999999999999,0,0,0,0.94199999999999995,0,0,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7071,71,1,1,0,6.8959999999999994E-2,0,0,0,0.95650000000000002,0,0,0,0,0,0]